RETOOL DEVELOPMENT PROPOSAL

Quality Lab Management Application

| Application | QLab – Quality Lab Management |
| --- | --- |
| Platform | Retool (built-in database) |
| Date | May 2026 |
| Status | Draft for Review |

# 1. Overview

This proposal outlines the development approach for QLab, a Retool-based Quality Lab Management application to replace the existing Microsoft Access database. The application will allow laboratory staff to record test results, enforce product specifications, and generate Certificates of Analysis (CoA) — fully integrated with the existing production database.

Following a thorough analysis of the existing database, this document confirms the data sources available, defines the new tables to be created, and proposes the overall system architecture.

# 2. Existing Data Sources

After reviewing the production database, the following tables are confirmed as the authoritative sources to be reused by QLab. Note: the original specification referenced a separate 'Schedule' table; however, no such table exists in the current database. The TP table serves this role and will be used as the lot and schedule source.

| Spec Name | Actual Table | Key Columns Used |
| --- | --- | --- |
| Quality | TP | TP_STKNO_CodeQuality, TP_QDESC_DescQuality, TP_STKNO_CodePattern, TP_STKNO_CodeColor |
| Lots | TP | TP_SKID (lot ID), TP_NPNO_NewProduct, TP_DATAINS, TP_CAST_DATE, TP_CAST_YARDS |
| Schedule | TP (same table) | TP_DATAINS used as scheduled date trigger for auto test plan creation |
| Inspection Results | TP_PEZZE | PZ_TPSKID, PZ_SCELTAFINALE, PZ_YDALLUNGATE, PZ_YDBONIFICO, PZ_FINEVISITA |
| Hold Disposition | MORBERN_HOLDDISPOSITION | HD_TPSKID, HD_ID — linked per lot |

Important finding: PRODUZIONE, PIANITAGLIO, and TP_PZRICHIESTE tables exist in the schema but contain no data. They will not be used.

# 3. New Tables to Be Created

The following five tables will be created in the Retool built-in database to support all lab-specific functionality.

## 3.1 test_methods

Stores all laboratory test methods.

| Column | Type | Description |
| --- | --- | --- |
| id | SERIAL PK | Auto-increment primary key |
| code | VARCHAR(50) | Unique test code identifier |
| name | VARCHAR(200) | Test name / description |
| unit | VARCHAR(50) | Unit of measure (e.g. %, MPa) |
| type | VARCHAR(20) | 'numeric' or 'observation' |
| reference_standard | VARCHAR(100) | ASTM or other standard reference |
| is_active | BOOLEAN | Inactive methods hidden from new specs |
| created_at | TIMESTAMP | Record creation timestamp |

## 3.2 specifications

Links quality numbers to their acceptance criteria. Versioned — never overwritten.

| Column | Type | Description |
| --- | --- | --- |
| id | SERIAL PK | Auto-increment primary key |
| quality_code | VARCHAR(50) | References TP.TP_STKNO_CodeQuality |
| version | INTEGER | Increments when spec is revised |
| is_active | BOOLEAN | Only one active spec per quality code |
| created_at | TIMESTAMP | Record creation timestamp |
| created_by | VARCHAR(100) | Retool username of creator |

## 3.3 spec_test_methods

Junction table defining which tests belong to a specification, and their acceptance limits.

| Column | Type | Description |
| --- | --- | --- |
| id | SERIAL PK | Auto-increment primary key |
| spec_id | INT FK | References specifications.id |
| test_method_id | INT FK | References test_methods.id |
| min_value | FLOAT | Minimum acceptable value (numeric tests only) |
| max_value | FLOAT | Maximum acceptable value (numeric tests only) |

## 3.4 test_plans

One test plan is created per lot, automatically when a new lot (TP record) is detected.

| Column | Type | Description |
| --- | --- | --- |
| id | SERIAL PK | Auto-increment primary key |
| tp_skid | INT | References TP.TP_SKID (lot ID) |
| spec_id | INT FK | Specification applied to this lot |
| status | VARCHAR(20) | Pending / In Progress / Pass / Failed |
| created_at | TIMESTAMP | When test plan was created |

## 3.5 test_results

Stores individual test results for each test in a test plan.

| Column | Type | Description |
| --- | --- | --- |
| id | SERIAL PK | Auto-increment primary key |
| test_plan_id | INT FK | References test_plans.id |
| test_method_id | INT FK | References test_methods.id |
| numeric_result | FLOAT | Numeric value (numeric tests only) |
| observation_result | VARCHAR(10) | 'Pass' or 'Fail' (observation tests only) |
| result_status | VARCHAR(10) | Auto-calculated: Pass or Fail |
| test_status | VARCHAR(20) | Pending / In Progress / Completed |
| tested_by | VARCHAR(100) | Retool username |
| tested_at | TIMESTAMP | Date/time of test entry |
| comments | TEXT | Optional notes or override reason |

# 4. Pass / Fail Logic

All Pass/Fail determination is handled automatically by the system — no manual input required from operators.

Test-level result:

- Numeric test: Pass if min_value <= result <= max_value; Fail otherwise

- Observation test: Pass/Fail selected directly by the operator

Lot-level status (test_plans.status):

- Pending — no tests started

- In Progress — at least one test completed, not all done

- Failed — any single test result is Fail (triggers immediately)

- Pass — all tests completed and all results are Pass

Status updates automatically whenever a test result is saved.

# 5. Test Plan Creation — Automation Approach

Since no dedicated Schedule table exists, test plans will be triggered by new records appearing in the TP table. Proposed implementation:

- A Retool Workflow runs on a scheduled interval (e.g. every 15 minutes)

- The workflow queries TP for lots where TP_DATAINS is within the last 24 hours and no test_plan exists yet for that TP_SKID

- For each new lot found, the workflow looks up the active specification for that quality code and creates a test_plan record with status = 'Pending'

- Lab Operators see the new lot appear automatically on their dashboard

Alternative: Retool button-triggered creation (manual by Lab Manager) if fully automated is not preferred.

# 6. User Roles & Permissions

| Function | Lab Operator | Lab Manager | Quality Manager |
| --- | --- | --- | --- |
| View test plans | Yes | Yes | Yes |
| Enter test results | Yes | Yes | Yes |
| Manage test methods | No | Yes | Yes |
| Manage specifications | No | Yes | Yes |
| Override results | No | Yes | Yes |
| Generate CoA | No | Yes | Yes |
| View trends & failures | No | Yes | Yes |
| Admin configuration | No | No | Yes |

Implementation via Retool user groups and conditional UI visibility.

# 7. Application Pages

## Lab Operator

- Dashboard — list of lots with Pending / In Progress status

- Test Entry — select a lot, enter results per test, auto Pass/Fail feedback

## Lab Manager (all above plus)

- Test Methods — create, edit, deactivate test methods

- Specifications — create and version specifications per quality code

- Test Plan Overview — all lots and their lab status

- CoA Generator — generate, preview, and export PDF per lot

- Trend Analysis — charts per test per quality number with date range

- Failed Results Report — filterable table, export to CSV

## Quality Manager

- Full access to all pages above plus system configuration

# 8. Certificate of Analysis (CoA)

The CoA will be generated per lot and include the following content:

- Company header / logo

- Lot number and quality number

- Product description (quality, pattern, color)

- Table of all tests: name, unit, spec limits, actual result, Pass/Fail

- Overall lot status (PASS / FAILED)

- Test dates and personnel

- Optional approval signature field

PDF generation approach: Retool PDF export component or JavaScript window.print() with print-optimized CSS. To be confirmed during development.

# 10. Overrides & Auditability

Lab Managers and Quality Managers may override a test result that has already been entered. The following approach is proposed to ensure full auditability:

Override Rules:

- Only Lab Manager and Quality Manager roles can override a result

- A written comment/justification is mandatory before saving an override

- The original result value is preserved — override creates a new record, not an overwrite

Audit Trail — additional columns on test_results:

| Column | Type | Description |
| --- | --- | --- |
| is_override | BOOLEAN | True if this result overrides a previous one |
| overridden_by | VARCHAR(100) | Retool username of the person who overrode |
| overridden_at | TIMESTAMP | Date/time of override |
| override_reason | TEXT | Mandatory justification comment |

All override activity will be visible in a dedicated audit log view accessible to Quality Managers.

# 11. Notifications

The following optional notifications are proposed using Retool Workflows + email/Slack integration:

| Event | Notify | Method |
| --- | --- | --- |
| Lot test result = Failed | Lab Manager, Quality Manager | Email or Retool in-app notification |
| All tests completed (Pass) | Lab Manager | Email or Retool in-app notification |
| New lot pending (no tests started > 24h) | Lab Operator, Lab Manager | Retool in-app notification |
| Result overridden | Quality Manager | Email audit alert |

Notification implementation requires client to confirm: preferred channel (email / Slack / in-app), recipient list per event, and whether notifications are required for go-live or can be added in a later phase.

# 12. Historical Data Migration

The existing Microsoft Access database contains historical test records. The following migration strategy is proposed:

Phase 1 — Assessment (before development):

- Export Access tables to CSV/Excel

- Map Access fields to new QLab table schema

- Identify data quality issues (missing values, inconsistent formats)

Phase 2 — Migration script:

- Write a one-time import script (Python or SQL) to load historical data into Retool DB

- Map legacy lot IDs to TP_SKID where possible

- Flag all migrated records with a source = 'legacy_access' tag for traceability

Phase 3 — Validation:

- Spot-check migrated records against original Access data

- Confirm CoA can be generated for historical lots

- Sign-off by Lab Manager before decommissioning Access

Note: Migration is optional at go-live. QLab can launch with new lots only, with historical data migrated in a subsequent phase. Client to confirm preference.

# 13. Open Questions for Client

The following items require confirmation before development begins:

| # | Question | Impact |
| --- | --- | --- |
| 1 | Confirm: TP table is the lot source — no separate Schedule table required? | Affects test plan automation design |
| 2 | Should test plans be created automatically (Workflow) or manually by Lab Manager? | Determines automation complexity |
| 3 | Is historical data from Microsoft Access to be migrated? If yes, by go-live or later phase? | Requires migration script and mapping |
| 4 | Preferred PDF method for CoA — Retool PDF, print CSS, or external library? | Affects CoA development approach |
| 5 | Are notifications required at go-live? Preferred channel: email, Slack, or in-app? | Requires Retool notification setup |
| 6 | Should result overrides require a mandatory written justification? | Affects audit trail design |

# 14. Next Steps

- Client reviews and confirms this proposal

- Confirm answers to open questions in Section 9

- Developer creates new tables in Retool DB

- Build Lab Operator pages (dashboard + test entry)

- Build Lab Manager pages (specs, methods, CoA, reports)

- Testing: Pass/Fail logic, CoA accuracy, permission enforcement

- UAT with lab staff and sign-off

End of Proposal